Human gut biopsy digestion – from frozen samples (Turtle lab protocol) 												Motoko 6-21-2019

For one biopsy (including single or multiple pinches), 10 ml digestion buffer is required.

1 mL of biopsy + freezing medium (7%DMSO/93% FBS)

9 ml collagenase&DNase-including digestion buffer

2% DNAse stock: 1g DNase + 33 ml Glycerol + 17 ml RPMI (total 50 ml)

Concentration and reagents in Final Digestion Buffer:

150 u/ml collagenase type I

0.01% DNase (2% stock)

5% FBS

25 mM HEPES

Penicillin 10KIU/mL / streptomycin 10Kug/mL, L-glutamine 29.2mg/mL (PSG)

1 mM MgCl2

1 mM CaCl2

Digestion Buffer (9ml): made 1.1 fold concentration to mix 1 ml biopsy sample

1.1 x 150 U/ml collagenase type I (260.0U/mg)	need 1.1 x 150U x 10 ml = 1650 U = 6.346 mg

1.1 x 0.01% DNase (2% stock)	need 0.011% in 10 ml = 0.055 ml of 2 % stock

5% FBS							0.5 ml

1.1 x 25 mM HEPES 	(1M stock)			0.275 ml

Penicillin 10KIU/mL, streptomycin 10Kug/mL (x100)		0.1 ml

L-glutamine (200 mM)	(x100)				0.1 ml

1.1 mM MgCl2 (95.211 g/mol)				0.001047 g= 1.047 mg

1.1 mM CaCl2 (111.0 g/mol)				0.001221 g= 1.221 mg

RPMI 1640						8.975 ml

Total							10 ml  take 9 ml/ sample

RPMI 10%FBS + PSG+ HEPES (R10)

10% FBS						1 ml

Penicillin 10KIU/mL, streptomycin 10Kug/mL (x100)		0.1 ml

L-glutamine (200 mM)	(x100)				0.1 ml

25 mM HEPES 	(1M stock)				0.25 ml

RPMI 1640						8.55 ml

Total							10 ml

(!! Made some extra volume)

- Thaw vial of tissue quickly by swirling in 37oC water bath until the only solid is small frozen ball

- Wipe vial with 70% ethanol to sanitize exterior

- In BSC, transfer just barely thawed cells from cryovial to 15mL tube by pouring

- Add 9mL digestion buffer (room temperature) all at once

- Incubate 30 minutes on high speed 37oC shaker

  - MultiTherm shaker @1300rpm, 40.1oC = 37oC fluids temperature

      - Miltenyi rotator, high

- Spin down cells at 1000rpm for 10min

- Suspend biopsies in 3mL cold R10 with 18g needle on 3cc syringe

- Draw tissue with the liquid up & down in the syringe, ala homogenizing for RNA extractions

- Instead, vortex 30 sec.

- Filter through 70uM filtercons into FACs tubes

- Spin down cells at 1000rpm for 8-10min

- Aspirate fluids from pellet

- Proceed to assay of choice