Live Microsocpy and Impedence Assay

Purpose: To assess killing of myeloid cell subset by CD4+/CD57+/CD27- T-cells when stimulated with CMV peptide.

Reagents:

CD29 Tethering Reagent

Tethering buffer

E-Plate View 96

Sorted classical monocytes (CD45+/CD3-/CD19-/CD56-/HLA-DR+/CD11c+/CD123-/CD14+/CD16-)

Sorted T-cells (CD45+/CD3+/CD4+/CD57+/CD27-)

RPMI 1640 media w/ 10% FCS

GM-CSF (final conc 50ng/mL); stock solution 1ug/mL

IL-2 (final conc 5IU/mL)

eAnnexinV Red (final conc 0.5ug/mL); stock solution 50ug/mL

CMV peptide (pp65, IE1, IE2)

Steps:

- Coat E-plate 96 with diluted CD29 Tethering Reagent (1:125 in tethering buffer, 50uL per well) for 3 hours (final conc should be 500ug/mL) at RT.

- Wash 2x with 200uL PBS, add 50uL media/well (see 1a), incubate at 36C for 1 hr and take background impedance measurement once. Media composition below:

  - 10% FCS in RPMI – NOTE we will be adding 50uL media here, but final volume closer to 100uL after adding in cells.  Concentration of reagents below should be calculated for 100uL

  - GM-CSF (50ng/mL) – note stock solution is 1ug/mL

  - IL-2 (5IU/mL) – note stock solution is 50,000IU/mL

  - eAnnexinV Red (0.5ug/mL) – note stock solution is 50ug/mL

- Add cells – for tumor cells they rec 50-100k, but for primary human monocytes, I cultured up to 200k as they don’t expand (this fills up the plate).  LEAVE AT 30 MINUTES RT TO LET CELLS SETTLE BEFORE MOVING TO 37C

- Can also set up image acquisition as well concurrently.

- MONITOR for up to 24 hours (or just wait 2-3 hours) before plating Effector cells.

- Plate sorted CD57+ T-cells split between 2 of the wells (i.e. A, C), such that amongst the 4 wells, we have all 4 combinations of +/- peptide and +/- T-cells.

- Continue with data acquisition to monitor target cell attachment and proliferation.

Live Microscopy Assay (For culturing monocytes and T-cells)

Reagents:

Sorted classical monocytes (CD3-/HLA-DR+/ CD14+/CD16-)

Sorted T-cells (CD3+/CD4+/CD57+/CD27-)

96-well flat-bottom plate (glass preferred, but plastic is OK)

RPMI 1640 media

GM-CSF (final conc 50ng/mL); stock solution 1ug/mL

IL-2 (final conc 5IU/mL)

eAnnexinV Red (final conc 0.5ug/mL); stock solution 50ug/mL

CFSE (final conc 500nM); stock solution (5mM)

Poly-Lysine (final conc 50 ug/mL)

FACS buffer

Steps:

- Coat plates in poly-lysin and let sit overnight (50ug/mL).  Next day, wash 1x with FACS buffer, than suction off fluid and let dry.

- Sort monocytes / T-cells into RPMI.  Centrifuge at 900G x 5 min, decant.

- Coat monocytes at 50-100k cells/well (for hybridomas, we use ~50k/well).  We want final volume to be 100uL RPMI / well (about the volume post-decanting from a FACS tube).  Once monocytes have been added, can dilute and add GM-CSF (final conc 50nmg/mL) as well as eAnnexin V Red (final conc 0.5ug/mL).  Note that sorting with PE antibodies does NOT interfere with microscopy.

- Mix well by pipetting up and down 1-2x 50uL (avoid bubbles).

- Incubate in eSight (or tissue culture), can start image capture if desired.

- CFSE-treat T-cells (see Prot 207, in vitro concentration used).  Resuspend so we end up adding ~50uL RPMI per well.

- Take out plate, add T-cells in well, and for wells without T-cells, add equivalent RPMI.

- After adding T-cells, add 5IU/mL IL-2 in each well (dilute so only add ~1-2uL).

- Incubate in eSight (or tissue culture), start image capture desired.