## Sheet1
Flex set up (6-16-2020) | standard: 3A4 (-80 freezer)
Exp.XXX DayX serum
1. how many samples and cytokines
# of samples | 13
# of standards | 11
# of extra | 5 | 1 extra per 6.5 samples
total MM made for | 29 | eg. 40 samples (including extra)
# of cytokines in the cocktails | 17 | eg. 7 cyotkines
2. MM culculations | (ul)
!! MM of capture beads+ capture diluent or PE detection + detectopm diluent
total vol (ul) | 145 | eg. 40 samples x 5 ul = 200 ul
each cytokine bead / PE Ab (ul) | 2.9 | eg. 40 samples x 0.1 ul = 4ul
total vol of beads/ PE Abs (ul) | 49.3 | eg. 7 cytokines x 4 ul = 28ul
capture diluent / PE detectopm diluent (ul) | 95.7 | eg. 200-28 = 172 ul
3. comined beads MM + PE MM (ul)
confirming… total vol (ul) | 145
10 ul each pippet from beads MM + PE MM (ul) | 290
4. aliquot 5 ul standard/sample in the V bottom
5. aliquot 10 ul combined MM in the V bottom and mix
6. 2 hours in the dark, RT
7. wash with FACS buffer (add 150 ul) and spin 3-5 min at 1000 rpm
8. voltex and resuspend 100 ul FACS buffer
!! IL-23 p19/40 (25K pg/ml, stock) cannot use with the cocktail including IL-12p70, as both are in position D7.
!! IL-21 standard is different conc (10K pg/ml as top and stock), so this needs to run in another plate.

## Sheet1 (2)
Flex set up (1- -2021) | standard: 3A4 (-80 freezer)
Exp XXX dX serum
1. how many samples and cytokines
# of samples | 52 | 13 x 4
# of standards | 11
# of extra | 12
total MM made for | 75 | eg. 40 samples (including extra)
# of cytokines in the cocktails | 17 | eg. 7 cyotkines
2. MM culculations | (ul)
!! MM of capture beads+ capture diluent or PE detection + detectopm diluent
total vol (ul) | 375 | eg. 75 samples x 5 ul = 375 ul
each cytokine bead / PE Ab (ul) | 7.5 | eg. 75 samples x 0.1 ul = 7.5 ul
total vol of beads/ PE Abs (ul) | 127.5 | eg. 17 cytokines x 7.5 ul = 127.5 ul
capture diluent / PE detectopm diluent (ul) | 247.5 | eg. 375-127.5 = 247.5 ul
3. comined beads MM + PE MM (ul)
confirming… total vol (ul) | 375
10 ul each pippet from beads MM + PE MM (ul) | 750
4. aliquot 5 ul standard/sample in the V bottom
5. aliquot 10 ul combined MM in the V bottom and mix
6. 2 hours in the dark, RT
7. wash with FACS buffer (add 150 ul) and spin 3-5 min at 1000 rpm
8. voltex and resuspend 100 ul FACS buffer