Please see 10x manual for full instructions, this is only for tips

Materials:

Chip N – Chromium X 16 reactions (1000375), $1,481.20 as of 1/13/23
NextSeq 2000 P3 100 cycles kit – (provides reagents for 100 cycles of sequencing, plus dual-indexing support up to 1.1B single reads), includes cartridge and flow cell. - $3,331 on Hutch marketplace.

Notes based on January/February 2023 run.

- GEX and TCR (VDJ) use the same cDNA

- CSP uses a different cDNA

- TT plate (for V(D)J) – label each time a well is used up!  Can only thaw so many times.

- Note for the V(D)J part 2 (library construction), we repeated it twice, with tapestation showing the same both times (peak not exactly where we want it to be), but we will go ahead with sequencing.