Using SYBR Green, Roche Lightcycler 480

Materials:
SYBR Green Reagent (SsoAdvanced Universal SYBR Green Supermix [BIO-RAD])

Roche Lightcycler 480 (Immune Monitoring Core)

Forward and Reverse primers

DNA (I used 5ng)

Nuclease-free water

- Total volume: 20uL

  - 10uL SYBR green

  - Fwd primer (20uM): 0.75uL

  - Rev primer (20uM): 0.75uL

  - 8.5uL total of:

    - DNA: 5ng

    - dH20 (nuclease free): make up 8.5uL with DNA

- Cycles: 40

  - 95C x 3min

  - Repeat 40x:

    - 95C x 30sec

    - Annealing temp x 30 sec

    - 72C Extension x 60 sec

  - 95C x 10 sec

  - Melting curve 95->65C at increments of 1C

- Analysis:

  - Abs quant/fit curve (adjust noise band if reads off)

    - Note Ct/Cp: every 3 cycle difference is ~10x difference in quantity

  - Melting temp analysis

- Note:

  - Include positive AND negative controls!