Phopho- Western Blot Protocol – Primary T cells

Prepare NP40 RIPA Lysis Buffer

Stock Concentration		10mL

25 mM TRIS pH8 							1M			250uL

150mM NaCl								3M			300uL

1% NP40								20%			500uL

5 mM EDTA								.5 M			100uL

Thermo Protease/Phosphatase inhibitor 				10X			100uL/1 tablet

0.1% SDS								1%			100uL

Water 												8.650 mL

Regents/materials

- Ice-cold NP40-RIPA lysis buffer

- Ice-cold PBS

- RT centrifuge, ideally close to water bath

- 37 degree water bath

- 4 degree centrifuge (ideally close to vacuum for aspiration)

Prepare T cells

- Spin down T cells, aim for a minimum of 2x106 cells per condition

- Resuspend at 2x106 cells/50ul (2M cell/50uL per timepoint) in eppendorph tube

- Transfer 50ul/2M cells to an eppendorph tube for each timepoint

- Warm cells at 37 degrees for 5 minutes before activations

*Nalm6 stim (1:1 E:T)

- Prepare Nalm6 similarly to T cells 2M cells/timepoint resuspended in 50uL/timepont in 1 eppendorph tube

- Prepare antigen negative nalm6 in same way

Stimulate T cells

- Place tubes with T cells in RT centrifuge with lids open

- Carefully pipet 50uL of Nalm6 cells to side of eppendorph

- Spin down tubes to bring Nalm6 in contact with T cell 800g 30sec

- Quickly transfer tubes to water bath, incubate for length of time point

- At end of time point add 1mL ice-cold PBS

- Immediately centrifuge tube 800g 1min

- Aspirate PBS/media, resuspend in 50-75uL ice-cold NP40 RIPA lysis buffer

- After all time point collected sonicate lysate (2X 40% amplitude, transfer back to ice between sonication – I sonicate all samples 1 time, then start next round of sonication to cool between)

- Centrifuge lysate max speed 15 min at 4 degrees

- Transfer supernatant to clean eppendorph – there will be a small white pellet, avoid transferring this!

*Pause point: lysate can be stored in -80 at this point*

Normalize lysate to total protein

- Micro-BSA kit 1:150 dilutiono of lysate in 10% NP40 lysis buffer (dilute in water)

- Perform BSA assay according to manufatuce protocol

- Normalize all samples to ~2ug/uL final concentration after reducing buffer is added(or lowest concentration sample)

- Add 6X Reducing buffer

- Heat samples a 70 degrees for 10 minutes

*Pause: Samples can be stored at -80 at this point*

Western Blot

- If samples are frozen, thaw on ice

- Write out plan for loading gel, 15-well or 12-well are available **avoid a symmetric gel, put 1 ladder on one side 2 ladders on the other**

- Set up gel tank if odd number of gels being run put in blank

- Prepare gels, remove green tape from the bottom of the gel, pull comb straight out to avoid bending wells

  - Hold the gel upside down and inspect wells, if the walls have collapsed or are bent, use a P20 pipette tip to fix wells

- Clamp gel into holders, fill between the gels with SDS running buffer (10X stock dilute in diH2O), use P1000 to pipette running buffer into wells to get rid of bubble

- Fill tank with SDS running buffer to the 2-gel line

- Pipette 10uL of ladder or sample into each well (max 12uL sample into well of 15well gel)

- If 3+ gels are being run, fill tank to 4 gel line

- Run 200V for 30 min

- When ~10 min is left soak membrane in Methanol, and 2 stacks per gel of transfer stacks in transfer buffer – (in 4 degree fridge, stock solution in bottles in fridge)

- After 30 min stop power source

- Remove tray from transfer machine

- Place stack of transfer stacks to drawer, flatten out any bumps with roller

- Use forceps to remove membrane from methanol, dip in transfer buffer, and then place on prepared stack – roll to remove bumps/bubbles

- Open gel with tool at indicated cites, cut off wells and along the bottom of the gel

- Lay gel on the membrane, again flatten gel to remove bubbles

- Lay second stack on top of gel, roll

- Press lid onto drawer and lock – transfer drawer to machine

- Run “Turbo” transfer program, 1 mini gel (should be a 7 min program)

- After program runs remove membrane, transfer to Western box and pour Blocking Buffer on to membrane, enough to cover

- Incubate, shaking for 5 min

- Store membrane in 1X TBS in 4 degree or proceed to blotting

- Incubate membrane with primary antibody diluted in blocking buffer (I start Cell Signaling Abs at 1:1000 then adjust as needed) – usually 10 ml antibody solution, less if can fix in small box

  - Incubate overnight, shaking in cold room

- Wash membrane 3X 5 min in TBS-Tween (1X TBS +0.1% Tween)

- Incubate in secondary Ab, Mouse or Rabbit-HRP, according to species of primary Ab

  - 1:10,000 dilution in blocking buffer

  - Incubate 1 hr RT shaking

- Wash membrane 3X 5 in in TBS-Tween

- Incubate membrane in ECL reagent (1:1 of each reagent in box) 5 min shaking RT

- Image membrane “Chemi Blot” setting of gel imager

- After imaging wash 1X 5min in TBST

- If probing with additional antibodies strip membrane

  - 10 mL stripping buffer, incubate shaking RT for 7 min

- Wash 2X 5 min TBST

- Block, blocking buffer 5 min

- Store membrane in TBS, 4 degrees or process with re-probing, same procedure as 1st Ab