[Prot 601] Tetramer Staining Protocols

Tetramer stains can be tricky, as the temperature required for optimal stain as well as concentration may vary. Below are staining protocols that have worked.

- SFB-Monomer-Biotin (NIH): I-Ab (DVQFSGAVPNKTD)

  - Tetramerization: Premix 0.2ug/mL (diluted from NIH stock ~2mg/mL) SFB-monomer-biotin with 0.2ug/mL SA (1.2ug/mL SA-PE) in a 1:1 ratio, incubate at RT for 30 minutes prior to use.

  - Use 2uL of resulting mix / 100uL sample, stain at 37C x 3 hours for optimal binding.

- SFB-Tetramer (NIH): I-Ab (DVQFSGAVPNKTD)

  - Stain at 1:500 concentration, 37C x 2.5 hours (better than 0.5 or 1 hr).  Seemed to get better results when fix cells in 4% PFA (+400uL to 100uL sample, incubate 15min on ice).

- CBir1-Tetramer (NIH): I-Ab (YSNANILSQ)

  - Use 1:500 dilution of tetramer (NIH stock ~1.44 mg/mL), stain 100uL sample at RT x 30 minutes (this is sufficient).

- Bowie-Tetramer (NIH): H2-M3 B2M (fM)IIINA

  - Use 1:100 or 1:200 dilution of tetramer (NIH stock ~1.4 mg/mL), stain 100uL sample at RT x 3 hours (longer is better).  4C and 37C both show sub-optimal stain. 1:100 seems to have more signal, but slightly more background when stained on control.

- m38-PE CMV tetramer

  - Use 1:3200, stain at 37C for 30 minutes

- m45-APC CMV tetramer

  - Use 1:800, stain at 37C for 30 minutes