Flow Cytometry Core Facility After-Hours Training Contract (Startup/Shutdown)

The purpose of the training in the Flow Cytometry core facility is to protect the expensive instrumentation from abuse, ensure that it is operational for our entire user base, and protect the investment in the actual experiment being performed. This training is offered to all users of the facility. This training is designed for users who already have a working knowledge of how to run an experiment on a cell analyzer or cell sorter, which includes but not limited to opening an experiment, setting up parameters and voltages, creating compensation controls, creating a worksheet, and exporting experiment data.

Cell Analyzer? 	Cell Sorter? 		Cytometer Name(s): _________________________________________

Date(s) of Initial Training: ________________________ 	Date(s) of Competency Training: ________________________

| Cell Analyzer Training (check when completed) Startup - Filling sheath tank and emptying waste tank - Turning on cytometer and computer - Turning on lasers - Starting cytometer software - Running fluidics start up - Running CST beads - Running Ultra Rainbow beads - Running clean plate - Clearing a clog - Recovering from software and/or computer crash - Common errors during startup - Other: __________________________ Shutdown - Running fluidics shutdown - Turning off cytometer and computer | Cell Sorter Training (check when completed) Startup - Filling sheath tank and emptying waste tank - Turning on cytometer and computer - Turning on lasers - Starting cytometer software - Cleaning flow cell - Running fluidics start up - Turning stream on and off - Recognizing a stable stream profile - Adjusting breakoff window values - Running CST beads - Running ultra-rainbow beads - Running accudrop beads - Clearing a clog - Recovering from software and/or computer crash - Common errors during startup - Other: __________________________ Shutdown - Running fluidics shutdown - Turning off cytometer and computer |
| --- | --- |

By signing this contract, the user agrees that the flow cytometry core staff member has trained the user to a high degree of competency in all categories list above for the specific cytometer(s) mentioned above which allows for the user to be self-sufficient in using the equipment after-hours. Further, if at any time the individual fails to show competency, not follow standard operating procedures, or damages the equipment, after-hours access may be revoked. Further training will then be required to reinstate access.

______________________________ 	______________________________	____________________

User: Print Name	User: Signature	Date

______________________________ 	______________________________	____________________

Flow Core Staff: Print Name	Flow Core Staff: Signature	Date