Bacterial Growth Curves using a Spectrophotometer (Nanodrop one C)

- Prepare sterile broth or media that will be used for inoculation. When ready to use, make sure the temperature is not too hot. The media container should be comfortable to the touch.

- Power on a spectrophotometer and allow it to warm up, preferably for several minutes before use.

- Make sure grow the culture in appropriate volume based on OD intervals

- Set the wavelength of the spectrophotometer to 600 nm (or another appropriate setting). Add 0.5 mL of uninoculated sterile media to a clean cuvette and blank the machine by setting it to 0 with this sample. This step standardizes the turbidity of the media without any cells in it, so that further calculations can quantitate growth due to changes in the turbidity.

- Inoculate the primary media from which samples will be taken.

- Immediately after inoculating, take a 0.5 mL sample of the inoculated media and pipette it into a clean cuvette. Place it in the blanked spectrophotometer, and record the OD reading. This reading should be recorded at time “0”.

- Repeat the previous step at preferred intervals (based on bacterial strain) until the absorbance no longer increases.

- Plot the readings on a graph with Time as the X-axis and OD as the Y-axis.

### Preparing Sterile Lysates by Sonication (Fisher scientific, sonic dismembrator-Model 100, Immune Monitoring Team lab, 5th floor)1 2

- Once the bacterial culture reaches log phase, pellet the bacterial culture at 5000rpm for 5min, resuspend in PBS.

- Turn on the machine and set it on remote mode.

- Prepare 70% ethanol and milliQ water in 50ml falcon tubes to dip and wipe the probe before and after use(can also turn the machine on for 2sec to clean any debris present on the probe

- Set the power to 10

- Keep the bacterial culture on ice (to prevent heat during sonication) and immerse the clean probe and press the foot switch on the probe as necessary

- Repeat it every second with few seconds for 10 times pause to prevent over heating of bacterial culture

- Bacterial culture will be disrupted now, leave it on ice 5min, centrifuge it for 7500g for 5min, sterilize the supernatant by using a 0.2 µm syringe filter, take 5uL and culture it and check for growth. There shouldn’t be any growth.

- Determine protein concentration by Bradford assay or qubit and store lysates in aliquots at -80°C until use.

### Preparing Sterile Lysates by Thermal lysis (freeze-thaw method) 3

- NOTE THAT SONICATION IS MUCH BETTER! (I tried thermal lysis vs. thermal lysis followed by sonication – the latter is far superior, get yields 10-100x more)

- Once the bacterial culture reaches log phase, pellet the bacterial culture at 5000g for 5min.

- Freeze the pelleted bacterial culture by placing in dry-ice bath for 2min. The sample then thawed by placing in water bath for 8min. Repeat this step 5 times.

- Resuspend the pellet in PBS, spin down cell wall debris 7500g x 5 min and obtain supernatant. filter sterilize using 0.2 µm filter take 5uL and culture it and check for growth. There shouldn’t be any growth.

- Determine protein concentration by Bradford assay or store lysates in aliquots at -80°C until use.

### Preparing lysate from stool samples

- Take feces from stool samples and put in sterile centrifuge tube

- Put ~500uL to 1mL fluid (PBS sterile) and mash with pipette tip

- Use sonication protocol above

- Spin down pellet debris @ ~5000G x 5 min, filter sterilize using 0.2 µm filter take 5uL and culture it and check for growth. There shouldn’t be any growth.

- Determine protein concentration by Bradford assay or store lysates in aliquots at -80°C until use.

Protein Quantification by Bradford Assay (Prometheus cat: 18-442 [Genesee Scientific])

- Kit provides Bradford Protein Assay Reagent and BSA standard.

- Remove the Bradford Protein Assay Reagent from the refrigerator and gently mix it by inverting the bottle several times. Do not shake the bottle vigorously.

- Remove the required volume of the dye reagent needed and equilibrate it to room temperature (RT) before use.

Preparation of Diluted BSA Protein Standards Dilute the supplied 2mg/ml BSA standards

| Tube No. | Buffer/Diluent Volume (μl) | BSA Standard (2mg/ml) Volume (μl) | Final Protein Concentration |
| --- | --- | --- | --- |
| Blank | 80 | 0 | 0 |
| 1 | 0 | 80 | 2000 ug/ml |
| 2 | 20 | 60 | 1500 ug/ml |
| 3 | 40 | 40 | 1000 ug/ml |
| 4 | 50 | 30 | 750 ug/ml |
| 5 | 60 | 20 | 500 ug/ml |
| 6 | 70 | 10 | 250 ug/ml |
| 7 | 75 | 5 | 125 ug/ml |
| 8 | 79 | 1 | 25 ug/ml |
| 9 | 796 | 4 | 10 ug/ml |
| 10 | 798 | 2 | 5 ug/ml |
| 11 | 799 | 1 | 2.5 ug/ml |
| *Note can just pick an interval desired (nanodrop defaults to 7 intervals) |  |  |  |

Standard Test Tube Protocol (Working Range: 100-1500μg/ml)

- Pipette 50 μl of each standard or unknown sample into appropriately labeled tubes.

- Add 1.0 ml of the Bradford Protein Assay Reagent to each tube and mix it well.

- Incubate the tubes for 10 minutes at room temperature (RT).

- Set the spectrophotometer at 595nm and zero it, using a cuvette filled only with water and measure the absorbance of all the tubes. Note can also just use nanodrop (2uL).

- Subtract the average 595nm measurement for the Blank replicates from the 595nm measurements of all other individual standard and unknown sample replicates.

- Prepare a standard curve by plotting the average Blank-corrected 595nm measurement for each BSA standard Vs its concentration in μg/ml. Use the standard curve to determine the protein concentration of unknown samples.

Pooling bacterial cultures together:

Once the protein concentration is quantified, resuspend all the strains of same concentration in  respective volume so that the concentration will be uniform, mix them together and store it in -80.

References:

1.	Suarez, N., Ferrara, F., Rial, A., Dee, V. & Chabalgoity, J.A. Bacterial Lysates as Immunotherapies for Respiratory Infections: Methods of Preparation. Front Bioeng Biotechnol 8, 545 (2020).

2.	Varian, B.J., et al. Microbial lysate upregulates host oxytocin. Brain Behav Immun 61, 36-49 (2017).

3.	Johnson, B.H. & Hecht, M.H. Recombinant proteins can be isolated from E. coli cells by repeated cycles of freezing and thawing. Biotechnology (N Y) 12, 1357-1360 (1994).