Live-cell assay to detect antigen-specific CD4+

Based off of Chattopadhyay PK, et al, Nature Protocols 2006;1(1)

Reagents:

Anti-CD154 (PE) - (Clone TRAP1) (BD #555700)

Anti-CD137 (APC) - (Clone 4B4-1) (BD #550890)

Anti-CD107a (FITC) - (Clone H4A3) (BD #555800)

Monensin (note this assay does NOT use Brefeldin) (BD #554724)

Staphylococcus enterotoxin B (SEB), Toxin Technologies Inc (Staphylococcal Enterotox 1mg; 1/EA NC9442400)

Dilute SEB to 0.1mg/mL in PBS, store in 100uL aliquots.

Co-stimulatory antibodies (If not using DC co-culture):

Anti-CD28 (BD #555725)

Anti-CD49d (BD #555501)

If using DC coc-tulre

- Plate 100uL DCs at 10k/100uL

- Add lysate/petpide (8-12ug/mL), incubate for 2.5 hrs

- Plate 100uL T-cells at 100k/100uL

- Add titrated Anti-CD154 PE (0.3 to 20uL per 200uL, determine beforehand).

- For positive control, add 2uL SEB solution (SEB to 0.1mg/mL in PBS, store in 100uL aliquots)

- Add Monensin – default 2uM, can titrate.

- Stimulation: 6-24 hours (37C) – no appreciable loss of signal for CD154 when stimulated as long as 24 hrs.

- Staining - downstream

If NOT using DC co-culture

- Suspend T-cells in 96 well-plates at a concentration of 10M/mL (so about 2M / well if using 200uL of cell suspension for 96-well paltes).

- For peptide stim, add ~0.2ug peptide per well.

- Also for each well, add 0.2ug of anti-CD28 and anti-CD49d

- Add titrated Anti-CD154 PE (0.3 to 20uL per 200uL, determine beforehand).

- For positive control, add 2uL SEB solution.

- Monensin – default 2uM, can titrate.

- Add 2uL SEB solution – dilute SEB to 0.1mg/mL in PBS, store in 100uL aliquots.

| Stim condition | Experimental medium (with monensin) |
| --- | --- |
| Peptide Costim | Peptide or whole antigen |
|  | Anti-CD28 |
|  | Anti-CD49d |
|  | Anti-CD154 |
| Costim only (Neg control) | Peptide diluent |
|  | Anti-CD28 |
|  | Anti-CD49d |
|  | Anti-CD154 |
| SEB (Pos control) | SEB |
|  | Anti-CD154 |

- Stimulation: 6-24 hours (37C) – no appreciable loss of signal for CD154 when stimulated as long as 24 hrs.

- Staining - downstream