Phopho- Western Blot Protocol – Bacterial Lysate

Reagents:

Laemmli SDS sample buffer (reducing 6X) – ThermoFisher Cat #J61337 - $138.49 for 25mL

Immun-Blot BVDF/Filter Paper Sets – BioRad Cat #162061 - $334 for 20

Trans-Blot Turbo 5x Transfer Buffer – BioRad Cat #10026938 - $132 for 1L

EveryBlot Blocking Buffer – BioRad Cat #12010020 - $136.80 for 500mL

Clarity Max Western ECL Substrate – BioRad #1705062 - $368 for 100mL

BLUelf Prestained Protein Ladder (5 to 245 kDa) – Bio-Helix Cat #PMB13-0500 – $224.62 for 500uL

Antibodies:

- For positive control Ab (E.Coli), we use RNA polymerase beta (MA1-25425, 1mg/mL, mouse IgG2b Ab, 1:1000, Invitrogen, ~150kDa).

- Other antibodies tried: Maltose Binding Protein Ab (MA5-27544, 1mg/mL, mouse IgG2b Ab, 1:1000, Invitrogen, ~42kDa)

- Secondary Ab: HRP-Goat anti-mouse IgG2b (M32407, Goat Ab, 1:10,000)

Prepare Bacaterial lysate

- Please see “[Prot 402] Sterile Lysates protocol” for prepping bacterial lysate.  Note that we do not need to filter in this case for sterility and in fact don’t want to filter as that may lose proteins!

- For reference, prior lysates (from 50mL bacteria in growth phase) have been retrieved at concentrations ~200-450 ug/mL.

Normalize lysate to total protein

- Perform BSA assay according to manufacture protocol

- Normalize all samples to ~2ug/uL final concentration after reducing buffer is added (or lowest concentration sample)

- Add 6X Reducing buffer

- Heat samples a 70 degrees for 10 minutes (or 95 deg for 5 minutes)

- Centrifuge to collect evaporants

*Pause: Samples can be stored at -80 at this point*

Western Blot

- If samples are frozen, thaw on ice

- Write out plan for loading gel, 15-well or 12-well are available **avoid a symmetric gel, put 1 ladder on one side 2 ladders on the other**

- Set up gel tank if odd number of gels being run put in blank

- Prepare gels, remove green tape from the bottom of the gel, pull comb straight out to avoid bending wells

  - Hold the gel upside down and inspect wells, if the walls have collapsed or are bent, use a P20 pipette tip to fix wells

- Clamp gel into holders, fill between the gels with SDS running buffer (10X stock dilute in diH2O), use P1000 to pipette running buffer into wells to get rid of bubble

- Fill tank with SDS running buffer to the 2-gel line

- Pipette 10uL of ladder or sample into each well (max 12uL sample into well of 15well gel or 20uL sample into well of 12well gel)

- If 3+ gels are being run, fill tank to 4 gel line

- Run 200V for 30 min

- When ~10 min is left soak membrane in Methanol, and 2 stacks per gel of transfer stacks in transfer buffer – (in 4 degree fridge, stock solution in bottles in fridge)

- After 30 min stop power source

- Remove tray from transfer machine

- Place stack of transfer stacks to drawer (metal box), flatten out any bumps with roller

- Use forceps to remove membrane from methanol, dip in transfer buffer, and then place on prepared stack – roll to remove bumps/bubbles

- Open gel with tool at indicated cites, cut off wells and along the bottom of the gel

- Lay gel on the membrane, again flatten gel to remove bubbles

- Lay second stack on top of gel, roll

- Press lid onto drawer and lock – transfer drawer to machine

- Run “Turbo” transfer program, 1 mini gel (should be a 7 min program); Mixed MV 25A, 25V 7 min

- After program runs remove membrane, transfer to Western box and pour Blocking Buffer on to membrane, enough to cover

- Incubate, shaking for 5 min

- Store membrane in 1X TBS in 4 degree or proceed to blotting

- Incubate membrane with primary antibody diluted in blocking buffer (I start Cell Signaling Abs at 1:1000 then adjust as needed) – usually 10 ml antibody solution, less if can fix in small box

  - Incubate overnight, shaking in cold room

- Wash membrane 3X 5 min in TBS-Tween (1X TBS +0.1% Tween)

- Incubate in secondary Ab, Mouse or Rabbit-HRP, according to species of primary Ab

  - 1:10,000 dilution in blocking buffer

  - Incubate 1 hr RT shaking

- Wash membrane 3X 5 in in TBS-Tween

- Incubate membrane in ECL reagent (1:1 of each reagent in box) 5 min shaking RT

- Image membrane “Chemi Blot” setting of gel imager

- After imaging wash 1X 5min in TBST

- If probing with additional antibodies strip membrane

  - 10 mL stripping buffer, incubate shaking RT for 7 min

- Wash 2X 5 min TBST

- Block, blocking buffer 5 min

- Store membrane in TBS, 4 degrees or process with re-probing, same procedure as 1st Ab