Embedding Bacteria with Histogel

Protocol adopted from https://www.statlab.com/pdfs/ifu/emhge.pdf

The main idea is to embed fixed bacterial pellet into histogel matrix so that they can be sectioned. We will do so in a small Eppendorf vs. PCR tube to get a nice tiny pellet!

Preparation

Histogel – HistoGel Vial 12/Cs ($338.76) https://www.fishersci.com/itemdetail?catnum=22110678

Cytology specimens should be ethanol-preserved cell suspensions, either with PCR or Eppendorf tubes, depending on how large a cross section is desired.

Steps

- Heat up HistoGel to 60C +/- 5 either by microwave on low for 5-15 seconds (loosen cap), or boiling water bath for 3-10 minutes.

  - Can allow cooling to 50C +/- 5 to allow gel to solidify more quickly after dispensing.

- Centrifuge Tube Methods

  - Add 4-6 drops of liquified HistoGel with a STERILE pipette to cell pellet at bottom of centrifuge tube (if using PCR tubes, I used 50uL and resuspended pellet in solution).

  - Vortex specimen for a few seconds to mix cells and HistoGel together OR let HistoGel settle at bottom of tube.

  - Allow HistoGel to solidify by cooling to near room temp < 20C.  Can use ice packs if want to speed up process.

  - Remove HistoGel pellet containing specimen and place inside a tissue cassette.

  - Process HistoGel cell pellet as standard histology specimen.