Skin digest

Kill mouse.

Shave back

Apply hair removal cream

~5min later remove with tissue and cut skin

Weigh skin for relative count (Scales in Ch22)(whole back will be ~700mg)

Cut depilated skin into small pieces. Smaller the better. Into a 50ml tube.

Digest (in shaking water bath) for 2h @ 37C in 7ml of:

Hanks [2% FCS, 1% Pen/Strep]

7mg collagenase

- Lyophilized powder may be stored at 4°C. Reconstitute with sterile ddH2O. Aliquot and store at 4°C. Reconstituted product is stable for 6 months at 4°C or -20°C.  Source 2: After reconstitution, it is recommended that any remaining solubilized collagenase be aliquoted into desired volumes and then frozen at < -20°C  for up to 1 to 2 months.

100ul Dnase (@ 1mg/ml)

- 10 mg/mL solution of DNAse I in 0.15 M NaCl may lose <10% of its activity when stored for a week in aliquots at −20 °C.  The same solutions stored in aliquots at 2-8 °C can lose approximately 20% activity.

After 2h stop with 600ul EDTA (0.1M) for 5minutes.

Filter through a 100uM nylon mesh. Push through.

Wash with RPMI 2% FCS and count. Pool cells if need be.

Block with Fc block before staining for flow cytometry.

Filter directly before putting on fortessa. Clumps soon after filtering. Book extra time to clean/fix blockages.

Andrew Wilkinson 16/12/15